{"text_format":"1","workbook":"xlsx","n_sheets":21,"sheets":["introduction","calculator","summary","lists","city","provg","residential single detached","residential MURB","commercial building","municipal buildings","F","I","HERaD","MPSfNB","MPSfEB","RaB","AaR","LbE","energy","financial","emissions"],"not_rendered":{"charts":9,"images":8,"macros":1,"external_links":0,"defined_names":33,"comments":5,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"introduction","index":0,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[[1,0,1,6]]}

{"sheet":"calculator","index":1,"n_rows":56,"n_cols":4,"rows_kept":56,"cut":false,"hidden":false,"merged":[[22,4,22,5],[55,0,55,1],[1,0,1,1],[22,0,22,1],[51,0,51,1],[22,2,22,3]]}
[]
["USER INPUTS"]
["1)","Please select the province or territory you are interested in."]
[]
[]
["2)","Please select the city you are interested in. "]
[]
[]
["3)","Please select the type of policy you are interested in."]
[]
[]
["4)","Please select the type of building you are interested in targeting."]
[]
[]
["5)","Please select the year you would like the policy to come into effect."]
[]
[]
["6)","Please select the impact level you would like to implement."]
[]
[]
[]
[]
["CALCULATED IMPACTS"]
[]
[null,"Impact Category","Units","Total Impact"]
[null,"Energy Impact"]
[null,"Average annual energy reduction","GJ/year"]
[null,"Cumulative energy reduction (from effective year to 2050)","GJ"]
[null,"Financial Impact"]
[null,"Average annual energy cost savings","CAD/year"]
[null,"Cumulative energy cost savings (from effective year to 2050)","CAD"]
[null,"Social Impact"]
[null,"Greenhouse Gas Emissions"]
[null,"Average annual reduction in CO2 eq emissions","tn CO2 eq/year"]
[null,"Cumulative reduction in CO2 eq emissions (from effective year to 2050)","tn CO2 eq"]
[null,"Average annual reduction in CO2 emissions","tn CO2/year"]
[null,"Cumulative reduction in CO2 emissions (from effective year to 2050)","tn CO2"]
[null,"Avegrage annual reduction in CH4 emissions","tn CH4/year"]
[null,"Cumulative reduction in CH4 emissions (from effective year to 2050)","tn CH4"]
[null,"Average annual reduction in N2O emissions","tn N2O/year"]
[null,"Cumulative  reduction in N2O emissions (from effective year to 2050)","tn N2O"]
[null,"Job Creation"]
[null,"Average annual job creation","job years/year"]
[null,"Cumulative job creation","job years"]
[null,"Energy Poverty"]
[null,"Annual number of energy poor households in program","average"]
[null,"Average reduction in household expenditure from energy savings","% reduction in household expenditure"]
[null,"Funding Requirements"]
[null,"Average annual program cost per participant","CAD/year"]
[null,"Cumulative program funding requirement for participants","CAD"]
[]
["FIGURES"]
[]
[]
[]
["POLICY COMMENTS AND CONSIDERATIONS"]

{"sheet":"summary","index":2,"n_rows":24,"n_cols":7,"rows_kept":24,"cut":false,"hidden":false,"merged":[]}
[]
["SUMMARY OF USER INPUTS"]
[]
[null,"Policy #","Policy ","Building Type","Year in Effect","Impact Level","Emissions Reductions from BAU in 2050 (%)"]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
[]
["FIGURES"]

{"sheet":"lists","index":3,"n_rows":34,"n_cols":34,"rows_kept":34,"cut":false,"hidden":true,"merged":[]}
[1,"provinces",2,"Newfoundland and Labrador","Prince Edward Island","Nova Scotia","New Brunswick","Quebec","Ontario","Manitoba","Saskatchewan","Alberta","British Columbia","Nunavut","Yukon","Northwest Territories",3,"policies",4,"Financing","Incentives","HomeEnergyRatingandDisclosure","MinimumPerformanceStandardsforNewBuildings","MinimumPerformanceStandardsforExistingBuildings","ReportingandBenchmarking","AuditingandRetrocommissioning","LeadingbyExample",5,"start_year",6,"municipal","singlefamilyresidential","multiunitresidentialoverfourstoreys","commercial"]
[null,"Alberta",null,"St John's","Charlottetown","Halifax","Fredericton","Montreal","Brampton","Winnipeg","Prince Albert","Calgary","Kelowna","Iqaluit","Whitehorse","Yellowknife",null,"Financing",null,"single family residential","single family residential","single family residential","single family residential","single family residential","multi unit residential over four storeys","multi unit residential over four storeys","municipal",null,2017,null,"NA","low","low","low"]
[null,"British Columbia",null,"Other","Other","Other","Other","Quebec City","Hamilton","Other","Regina","Edmonton","Nanaimo","Other","Other","Other",null,"Incentives",null,"multi unit residential over four storeys","multi unit residential over four storeys",null,"multi unit residential over four storeys","multi unit residential over four storeys","commercial","commercial",null,null,2018,null,null,"medium","medium","medium"]
[null,"Manitoba",null,null,null,null,null,"Other","Mississauga",null,"Saskatoon","Grande Prairie","Richmond",null,null,null,null,"Home Energy Rating and Disclosure",null,"commercial","commercial",null,"commercial","commercial",null,null,null,null,2019,null,null,"high","high","high"]
[null,"New Brunswick",null,null,null,null,null,null,"Ottawa",null,"Other","Lethbridge","Surrey",null,null,null,null,"Minimum Performance Standards for New Buildings",null,null,null,null,null,null,null,null,null,null,2020]
[null,"Newfoundland and Labrador",null,null,null,null,null,null,"Toronto",null,null,"Medicine Hat","Vancouver",null,null,null,null,"Minimum Performance Standards for Existing Buildings",null,null,null,null,null,null,null,null,null,null,2021]
[null,"Northwest Territories",null,null,null,null,null,null,"Other",null,null,"St Albert","Victoria",null,null,null,null,"Reporting and Benchmarking",null,null,null,null,null,null,null,null,null,null,2022]
[null,"Nova Scotia",null,null,null,null,null,null,null,null,null,"Other","Other",null,null,null,null,"Auditing and Retrocommissioning",null,null,null,null,null,null,null,null,null,null,2023]
[null,"Nunavut",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,"Leading by Example",null,null,null,null,null,null,null,null,null,null,2024]
[null,"Ontario",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2025]
[null,"Prince Edward Island",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2026]
[null,"Quebec",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2027]
[null,"Saskatchewan",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2028]
[null,"Yukon",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2029]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2030]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2031]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2032]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2033]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2034]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2035]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2036]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2037]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2038]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2039]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2040]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2041]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2042]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2043]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2044]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2045]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2046]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2047]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2048]
[null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,2049]

{"sheet":"city","index":4,"n_rows":10,"n_cols":33,"rows_kept":10,"cut":false,"hidden":true,"merged":[]}
["variable","year","toronto","montreal","calgary","ottawa","edmonton","mississauga","winnipeg","vancouver","brampton","hamilton","st john's","charlottetown","halifax","fredericton","quebec city","regina","victoria","iqaluit","yellowknife","whitehorse","other","surrey","richmond","nanaimo","kelowna","medicine hat","st albert","lethbridge","grande prairie","prince albert","saskatoon"]
["population",2011,2615060,1649519,1096833,883391,812201,713443,663617,603502,523911,519949,106172,34562,390096,56224,516622,193100,80017,6699,19234,23276,0,468251,190473,83810,117312,60005,61466,83517,55032,35129,222189]
["s_quant_#",2011,820895,56815,248755,151495,165760,91695,162175,264575,78975,118105,20120,7175,84265,11880,78560,53625,6760,675,3560,5080,0,64515,25320,21330,24865,16305,16690,22160,13645,9070,51940]
["h_quant_#",2011,545840,97645,29485,65495,25515,58825,35350,70265,17005,33140,510,55,17605,350,19890,3805,7180,150,150,5,0,3800,6950,1110,1155,205,110,725,135,685,5000]
["c_quant_#",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
["s_area_m2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
["h_area_m2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
["c_area_m2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
["m_area_m2",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]
["name",null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,null,0]

{"sheet":"provg","index":5,"n_rows":137,"n_cols":15,"rows_kept":137,"cut":false,"hidden":true,"merged":[]}
["variable","year","newfoundland and labrador","prince edward island","nova scotia","new brunswick","quebec","ontario","manitoba","saskatchewan","alberta","british columbia","nunavut","yukon","northwest territories"]
["population",2011,510000,140000,920000,750000,7900000,13000000,1200000,1000000,3600000,4400000,32000,34000,41000]
["en_pov_inc_dec",null,0.13,0.13,0.13,0.13,3.3000000000000002E-2,5.8999999999999997E-2,3.4000000000000002E-2,6.6000000000000003E-2,5.0999999999999997E-2,2.8000000000000001E-2,0.13,0.13,0.13]
["rate_gas_$m3",2016,3.2,3.2,3.2,3.2,0.56999999999999995,0.28000000000000003,0.49,0.26,8.4000000000000005E-2,0.26,3.2,3.2,3.2]
["rate_oil_$l",2016,1.3,1,1,1,1,1,1,1,0.95,1.2,1.2,1.2,1.2]
["rate_wood_$kg",2016,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12]
["EF_gas_co_gm3",2013,1900,1900,1900,1900,1900,1900,1900,1800,1900,1900,2200,1900,2500]
["EF_gas_ch_gm3",2013,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2,3.6999999999999998E-2]
["EF_gas_no_gm3",2013,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2,3.5000000000000003E-2]
["EF_oil_co_gpl",2013,2800,2800,2800,2800,2800,2800,2800,2800,2800,2800,2800,2800,2800]
["EF_oil_ch_gpl",2013,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2,2.5999999999999999E-2]
["EF_oil_no_gpl",2013,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3,6.0000000000000001E-3]
["EF_wod_co_gkg",2013,0,0,0,0,0,0,0,0,0,0,0,0,0]
["EF_wod_ch_gkg",2013,12,12,12,12,12,12,12,12,12,12,12,12,12]
["EF_wod_no_gkg",2013,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12,0.12]
["EF_oth_co_gtn",2013,2400000,2400000,2400000,2400000,2400000,2200000,2100000,2000000,2100000,2100000,2400000,2400000,2400000]
["EF_oth_ch_gtn",2013,4000,4000,4000,4000,4000,4000,4000,4000,4000,4000,4000,4000,4000]
["EF_oth_no_gtn",2013,20,20,20,20,20,20,20,20,20,20,20,20,20]
["EF_elc_co_gpk",2013,21,8,720,290,3,65,3.2,710,800,15,300,38,300]
["EF_elc_co_gpk",2014,21,8,700,290,3,35,3.2,700,750,15,300,38,300]
["EF_elc_co_gpk",2015,21,8,680,290,3,28,3.2,680,710,15,300,38,300]
["EF_elc_co_gpk",2016,21,8,660,290,3,24,3.2,670,660,14,300,38,300]
["EF_elc_co_gpk",2017,21,8,640,290,3,25,3.2,650,620,14,300,38,300]
["EF_elc_co_gpk",2018,21,7,610,290,3,28,3.2,640,610,14,300,38,300]
["EF_elc_co_gpk",2019,21,7,590,290,3,30,3.2,630,600,14,300,38,300]
["EF_elc_co_gpk",2020,21,7,570,290,3,29,3.2,610,560,14,300,38,300]
["EF_elc_co_gpk",2021,21,7,550,290,3,48,3.2,600,550,13,300,38,300]
["EF_elc_co_gpk",2022,21,7,530,290,3,48,3.2,580,550,13,300,38,300]
["EF_elc_co_gpk",2023,21,7,510,290,3,49,3.2,570,550,13,300,38,300]
["EF_elc_co_gpk",2024,21,7,490,290,3,47,3.2,560,550,13,300,38,300]
["EF_elc_co_gpk",2025,21,7,470,290,3,45,3.2,540,530,13,300,38,300]
["EF_elc_co_gpk",2026,21,7,440,290,3,39,3.2,530,510,12,300,38,300]
["EF_elc_co_gpk",2027,21,7,420,290,3,43,3.2,520,490,12,300,38,300]
["EF_elc_co_gpk",2028,21,7,400,290,3,43,3.2,500,470,12,300,38,300]
["EF_elc_co_gpk",2029,21,7,380,290,3,47,3.2,490,460,12,300,38,300]
["EF_elc_co_gpk",2030,21,7,360,290,3,48,3.2,470,380,12,300,38,300]
["EF_elc_co_gpk",2031,21,7,350,290,3,48,3.2,470,380,11,300,38,300]
["EF_elc_co_gpk",2032,21,7,350,290,3,46,3.2,470,380,11,300,38,300]
["EF_elc_co_gpk",2033,21,7,340,290,3,29,3.2,470,380,11,300,38,300]
["EF_elc_co_gpk",2034,21,7,340,290,3,29,3.2,470,380,11,300,38,300]
["EF_elc_co_gpk",2035,21,7,330,290,3,29,3.2,470,380,11,300,38,300]
["EF_elc_co_gpk",2036,21,7,320,290,3,29,3.2,470,380,10,300,38,300]
["EF_elc_co_gpk",2037,21,7,320,290,3,29,3.2,470,360,10,300,38,300]
["EF_elc_co_gpk",2038,21,7,310,290,3,29,3.2,470,360,10,300,38,300]
["EF_elc_co_gpk",2039,21,7,310,290,3,29,3.2,470,350,9.8000000000000007,300,38,300]
["EF_elc_co_gpk",2040,21,7,300,290,3,29,3.2,470,340,9.6,300,38,300]
["EF_elc_co_gpk",2041,21,7,290,290,3,29,3.2,470,330,9.4,300,38,300]
["EF_elc_co_gpk",2042,21,7,290,290,3,29,3.2,470,330,9.1999999999999993,300,38,300]
["EF_elc_co_gpk",2043,21,7,280,290,3,29,3.2,470,330,9,300,38,300]
["EF_elc_co_gpk",2044,21,7,280,290,3,29,3.2,470,330,8.8000000000000007,300,38,300]
["EF_elc_co_gpk",2045,21,7,270,290,3,29,3.2,470,320,8.6,300,38,300]
["EF_elc_co_gpk",2046,21,7,260,290,3,29,3.2,470,320,8.4,300,38,300]
["EF_elc_co_gpk",2047,21,7,260,290,3,29,3.2,470,320,8.1999999999999993,300,38,300]
["EF_elc_co_gpk",2048,21,7,250,290,3,29,3.2,470,320,8,300,38,300]
["EF_elc_co_gpk",2049,21,7,250,290,3,29,3.2,470,320,7.8,300,38,300]
["EF_elc_co_gpk",2050,21,7,240,290,3,29,3.2,470,320,7.5,300,38,300]
["EF_elc_ch_gpk",2013,2.9999999999999997E-4,2.0000000000000001E-4,0.03,0.02,2.0000000000000001E-4,0.01,2.9999999999999997E-4,0.04,0.04,3.0000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2014,2.9999999999999997E-4,2.0000000000000001E-4,2.9000000000000001E-2,0.02,2.0000000000000001E-4,9.9000000000000008E-3,2.9999999999999997E-4,3.9E-2,3.7999999999999999E-2,3.0000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2015,2.9999999999999997E-4,2.0000000000000001E-4,2.8000000000000001E-2,0.02,2.0000000000000001E-4,9.7000000000000003E-3,2.9999999999999997E-4,3.7999999999999999E-2,3.5000000000000003E-2,2.8999999999999998E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2016,2.9999999999999997E-4,2.0000000000000001E-4,2.8000000000000001E-2,0.02,2.0000000000000001E-4,9.5999999999999992E-3,2.9999999999999997E-4,3.7999999999999999E-2,3.3000000000000002E-2,2.8999999999999998E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2017,2.9999999999999997E-4,2.0000000000000001E-4,2.7E-2,0.02,2.0000000000000001E-4,9.4999999999999998E-3,2.9999999999999997E-4,3.6999999999999998E-2,3.1E-2,2.8E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2018,2.9999999999999997E-4,0,2.5999999999999999E-2,0.02,2.0000000000000001E-4,9.2999999999999992E-3,2.9999999999999997E-4,3.5999999999999997E-2,0.03,2.8E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2019,2.9999999999999997E-4,0,2.5000000000000001E-2,0.02,2.0000000000000001E-4,9.1999999999999998E-3,2.9999999999999997E-4,3.5000000000000003E-2,0.03,2.8E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2020,2.9999999999999997E-4,0,2.4E-2,0.02,2.0000000000000001E-4,9.1000000000000004E-3,2.9999999999999997E-4,3.5000000000000003E-2,2.8000000000000001E-2,2.7000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2021,2.9999999999999997E-4,0,2.3E-2,0.02,2.0000000000000001E-4,8.8999999999999999E-3,2.9999999999999997E-4,3.4000000000000002E-2,2.8000000000000001E-2,2.7000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2022,2.9999999999999997E-4,0,2.3E-2,0.02,2.0000000000000001E-4,8.8000000000000005E-3,2.9999999999999997E-4,3.3000000000000002E-2,2.7E-2,2.5999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2023,2.9999999999999997E-4,0,2.1999999999999999E-2,0.02,2.0000000000000001E-4,8.6E-3,2.9999999999999997E-4,3.2000000000000001E-2,2.8000000000000001E-2,2.5999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2024,2.9999999999999997E-4,0,2.1000000000000001E-2,0.02,2.0000000000000001E-4,8.5000000000000006E-3,2.9999999999999997E-4,3.1E-2,2.7E-2,2.5999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2025,2.9999999999999997E-4,0,0.02,0.02,2.0000000000000001E-4,8.3999999999999995E-3,2.9999999999999997E-4,3.1E-2,2.7E-2,2.5000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2026,2.9999999999999997E-4,0,1.9E-2,0.02,2.0000000000000001E-4,8.2000000000000007E-3,2.9999999999999997E-4,0.03,2.5000000000000001E-2,2.5000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2027,2.9999999999999997E-4,0,1.7999999999999999E-2,0.02,2.0000000000000001E-4,8.0999999999999996E-3,2.9999999999999997E-4,2.9000000000000001E-2,2.4E-2,2.3999999999999998E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2028,2.9999999999999997E-4,0,1.7999999999999999E-2,0.02,2.0000000000000001E-4,8.0000000000000002E-3,2.9999999999999997E-4,2.8000000000000001E-2,2.4E-2,2.3999999999999998E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2029,2.9999999999999997E-4,0,1.7000000000000001E-2,0.02,2.0000000000000001E-4,7.7999999999999996E-3,2.9999999999999997E-4,2.7E-2,2.3E-2,2.3999999999999998E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2030,2.9999999999999997E-4,0,1.4999999999999999E-2,0.02,2.0000000000000001E-4,7.7000000000000002E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.3E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2031,2.9999999999999997E-4,0,1.4999999999999999E-2,0.02,2.0000000000000001E-4,7.6E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.3E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2032,2.9999999999999997E-4,0,1.4E-2,0.02,2.0000000000000001E-4,7.4000000000000003E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.2000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2033,2.9999999999999997E-4,0,1.4E-2,0.02,2.0000000000000001E-4,7.3000000000000001E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.2000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2034,2.9999999999999997E-4,0,1.4E-2,0.02,2.0000000000000001E-4,7.1999999999999998E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.0999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2035,2.9999999999999997E-4,0,1.4E-2,0.02,2.0000000000000001E-4,7.0000000000000001E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.0999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2036,2.9999999999999997E-4,0,1.2999999999999999E-2,0.02,2.0000000000000001E-4,6.8999999999999999E-3,2.9999999999999997E-4,2.7E-2,1.9E-2,2.0999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2037,2.9999999999999997E-4,0,1.2999999999999999E-2,0.02,2.0000000000000001E-4,6.7999999999999996E-3,2.9999999999999997E-4,2.7E-2,1.7999999999999999E-2,2E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2038,2.9999999999999997E-4,0,1.2999999999999999E-2,0.02,2.0000000000000001E-4,6.6E-3,2.9999999999999997E-4,2.7E-2,1.7999999999999999E-2,2E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2039,2.9999999999999997E-4,0,1.2E-2,0.02,2.0000000000000001E-4,6.4999999999999997E-3,2.9999999999999997E-4,2.7E-2,1.7999999999999999E-2,1.9E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2040,2.9999999999999997E-4,0,1.2E-2,0.02,2.0000000000000001E-4,6.4000000000000003E-3,2.9999999999999997E-4,2.7E-2,1.7000000000000001E-2,1.9E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2041,2.9999999999999997E-4,0,1.2E-2,0.02,2.0000000000000001E-4,6.1999999999999998E-3,2.9999999999999997E-4,2.7E-2,1.7000000000000001E-2,1.9E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2042,2.9999999999999997E-4,0,1.0999999999999999E-2,0.02,2.0000000000000001E-4,6.1000000000000004E-3,2.9999999999999997E-4,2.7E-2,1.7000000000000001E-2,1.8E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2043,2.9999999999999997E-4,0,1.0999999999999999E-2,0.02,2.0000000000000001E-4,5.8999999999999999E-3,2.9999999999999997E-4,2.7E-2,1.7000000000000001E-2,1.8E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2044,2.9999999999999997E-4,0,1.0999999999999999E-2,0.02,2.0000000000000001E-4,5.7999999999999996E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.6999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2045,2.9999999999999997E-4,0,1.0999999999999999E-2,0.02,2.0000000000000001E-4,5.7000000000000002E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.6999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2046,2.9999999999999997E-4,0,0.01,0.02,2.0000000000000001E-4,5.4999999999999997E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.6999999999999999E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2047,2.9999999999999997E-4,0,9.9000000000000008E-3,0.02,2.0000000000000001E-4,5.4000000000000003E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.6000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2048,2.9999999999999997E-4,0,9.5999999999999992E-3,0.02,2.0000000000000001E-4,5.3E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.6000000000000001E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2049,2.9999999999999997E-4,0,9.2999999999999992E-3,0.02,2.0000000000000001E-4,5.1000000000000004E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.5E-3,0.02,2E-3,0.02]
["EF_elc_ch_gpk",2050,2.9999999999999997E-4,0,8.9999999999999993E-3,0.02,2.0000000000000001E-4,5.0000000000000001E-3,2.9999999999999997E-4,2.7E-2,1.6E-2,1.5E-3,0.02,2E-3,0.02]
["EF_elc_no_gpk",2013,0,1E-4,0.01,4.0000000000000001E-3,1E-4,2E-3,1E-4,0.02,0.02,8.9999999999999998E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2014,0,1E-4,9.7000000000000003E-3,4.0000000000000001E-3,1E-4,2E-3,1E-4,0.02,1.9E-2,8.8999999999999995E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2015,0,1E-4,9.4000000000000004E-3,4.0000000000000001E-3,1E-4,1.9E-3,1E-4,1.9E-2,1.7999999999999999E-2,8.8000000000000003E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2016,0,1E-4,9.1999999999999998E-3,4.0000000000000001E-3,1E-4,1.9E-3,1E-4,1.9E-2,1.7000000000000001E-2,8.5999999999999998E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2017,0,1E-4,8.8999999999999999E-3,4.0000000000000001E-3,1E-4,1.9E-3,1E-4,1.7999999999999999E-2,1.4999999999999999E-2,8.4999999999999995E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2018,0,8.7999999999999998E-5,8.6E-3,4.0000000000000001E-3,1E-4,1.9E-3,1E-4,1.7999999999999999E-2,1.4999999999999999E-2,8.4000000000000003E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2019,0,8.7999999999999998E-5,8.3000000000000001E-3,4.0000000000000001E-3,1E-4,1.8E-3,1E-4,1.7999999999999999E-2,1.4999999999999999E-2,8.3000000000000001E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2020,0,8.7999999999999998E-5,8.0999999999999996E-3,4.0000000000000001E-3,1E-4,1.8E-3,1E-4,1.7000000000000001E-2,1.4E-2,8.0999999999999996E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2021,0,8.7999999999999998E-5,7.7999999999999996E-3,4.0000000000000001E-3,1E-4,1.8E-3,1E-4,1.7000000000000001E-2,1.4E-2,8.0000000000000004E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2022,0,8.7999999999999998E-5,7.4999999999999997E-3,4.0000000000000001E-3,1E-4,1.8E-3,1E-4,1.6E-2,1.4E-2,7.9000000000000001E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2023,0,8.7999999999999998E-5,7.1999999999999998E-3,4.0000000000000001E-3,1E-4,1.6999999999999999E-3,1E-4,1.6E-2,1.4E-2,7.7999999999999999E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2024,0,8.7999999999999998E-5,6.8999999999999999E-3,4.0000000000000001E-3,1E-4,1.6999999999999999E-3,1E-4,1.6E-2,1.4E-2,7.6999999999999996E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2025,0,8.7999999999999998E-5,6.7000000000000002E-3,4.0000000000000001E-3,1E-4,1.6999999999999999E-3,1E-4,1.4999999999999999E-2,1.2999999999999999E-2,7.5000000000000002E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2026,0,8.7999999999999998E-5,6.4000000000000003E-3,4.0000000000000001E-3,1E-4,1.6000000000000001E-3,1E-4,1.4999999999999999E-2,1.2999999999999999E-2,7.3999999999999999E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2027,0,8.7999999999999998E-5,6.1000000000000004E-3,4.0000000000000001E-3,1E-4,1.6000000000000001E-3,1E-4,1.4999999999999999E-2,1.2E-2,7.2999999999999996E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2028,0,8.7999999999999998E-5,5.7999999999999996E-3,4.0000000000000001E-3,1E-4,1.6000000000000001E-3,1E-4,1.4E-2,1.2E-2,7.2000000000000005E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2029,0,8.7999999999999998E-5,5.5999999999999999E-3,4.0000000000000001E-3,1E-4,1.6000000000000001E-3,1E-4,1.4E-2,1.2E-2,7.1000000000000002E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2030,0,8.7999999999999998E-5,5.0000000000000001E-3,4.0000000000000001E-3,1E-4,1.5E-3,1E-4,1.2999999999999999E-2,9.4999999999999998E-3,6.8999999999999997E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2031,0,8.7999999999999998E-5,4.8999999999999998E-3,4.0000000000000001E-3,1E-4,1.5E-3,1E-4,1.2999999999999999E-2,9.4999999999999998E-3,6.8000000000000005E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2032,0,8.7999999999999998E-5,4.7999999999999996E-3,4.0000000000000001E-3,1E-4,1.5E-3,1E-4,1.2999999999999999E-2,9.4999999999999998E-3,6.7000000000000002E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2033,0,8.7999999999999998E-5,4.7000000000000002E-3,4.0000000000000001E-3,1E-4,1.5E-3,1E-4,1.2999999999999999E-2,9.4999999999999998E-3,6.6E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2034,0,8.7999999999999998E-5,4.5999999999999999E-3,4.0000000000000001E-3,1E-4,1.4E-3,1E-4,1.2999999999999999E-2,9.4999999999999998E-3,6.4000000000000005E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2035,0,8.7999999999999998E-5,4.4999999999999997E-3,4.0000000000000001E-3,1E-4,1.4E-3,1E-4,1.2999999999999999E-2,9.4999999999999998E-3,6.3000000000000003E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2036,0,8.7999999999999998E-5,4.4000000000000003E-3,4.0000000000000001E-3,1E-4,1.4E-3,1E-4,1.2999999999999999E-2,9.4000000000000004E-3,6.2E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2037,0,8.7999999999999998E-5,4.3E-3,4.0000000000000001E-3,1E-4,1.4E-3,1E-4,1.2999999999999999E-2,8.9999999999999993E-3,6.0999999999999997E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2038,0,8.7999999999999998E-5,4.1999999999999997E-3,4.0000000000000001E-3,1E-4,1.2999999999999999E-3,1E-4,1.2999999999999999E-2,8.9999999999999993E-3,5.9999999999999995E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2039,0,8.7999999999999998E-5,4.1000000000000003E-3,4.0000000000000001E-3,1E-4,1.2999999999999999E-3,1E-4,1.2999999999999999E-2,8.8000000000000005E-3,5.8E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2040,0,8.7999999999999998E-5,4.0000000000000001E-3,4.0000000000000001E-3,1E-4,1.2999999999999999E-3,1E-4,1.2999999999999999E-2,8.3999999999999995E-3,5.6999999999999998E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2041,0,8.7999999999999998E-5,3.8999999999999998E-3,4.0000000000000001E-3,1E-4,1.1999999999999999E-3,1E-4,1.2999999999999999E-2,8.3000000000000001E-3,5.5999999999999995E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2042,0,8.7999999999999998E-5,3.8E-3,4.0000000000000001E-3,1E-4,1.1999999999999999E-3,1E-4,1.2999999999999999E-2,8.3000000000000001E-3,5.5000000000000003E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2043,0,8.7999999999999998E-5,3.7000000000000002E-3,4.0000000000000001E-3,1E-4,1.1999999999999999E-3,1E-4,1.2999999999999999E-2,8.3000000000000001E-3,5.4000000000000001E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2044,0,8.7999999999999998E-5,3.5999999999999999E-3,4.0000000000000001E-3,1E-4,1.1999999999999999E-3,1E-4,1.2999999999999999E-2,8.0999999999999996E-3,5.1999999999999995E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2045,0,8.7999999999999998E-5,3.5000000000000001E-3,4.0000000000000001E-3,1E-4,1.1000000000000001E-3,1E-4,1.2999999999999999E-2,8.0000000000000002E-3,5.1000000000000004E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2046,0,8.7999999999999998E-5,3.3999999999999998E-3,4.0000000000000001E-3,1E-4,1.1000000000000001E-3,1E-4,1.2999999999999999E-2,8.0000000000000002E-3,5.0000000000000001E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2047,0,8.7999999999999998E-5,3.3E-3,4.0000000000000001E-3,1E-4,1.1000000000000001E-3,1E-4,1.2999999999999999E-2,8.0000000000000002E-3,4.8999999999999998E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2048,0,8.7999999999999998E-5,3.2000000000000002E-3,4.0000000000000001E-3,1E-4,1.1000000000000001E-3,1E-4,1.2999999999999999E-2,8.0000000000000002E-3,4.6999999999999999E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2049,0,8.7999999999999998E-5,3.0999999999999999E-3,4.0000000000000001E-3,1E-4,1E-3,1E-4,1.2999999999999999E-2,8.0000000000000002E-3,4.6000000000000001E-4,0.04,0.01,0.04]
["EF_elc_no_gpk",2050,0,8.7999999999999998E-5,3.0000000000000001E-3,4.0000000000000001E-3,1E-4,1E-3,1E-4,1.2999999999999999E-2,8.0000000000000002E-3,4.4999999999999999E-4,0.04,0.01,0.04]
["EF_elc_ce_gpk_gen",2013,21,8,720,290,2,66,3.2,710,810,15,310,39,310]
["EF_elc_ce_gpk_cns",2013,21,8,770,270,2.5,80,3.6,780,810,16,330,45,330]
["inflation","1990 to 2013 median",1,1,1,1,1,1,1,1,1,1,1,1,1]
["household_expenditure",2014,77000,68000,71000,69000,69000,84000,76000,85000,100000,81000,81000,81000,81000]
["job_creation_jhpGJ",null,1.18E-4,9.1000000000000003E-5,1.5699999999999999E-4,9.5000000000000005E-5,1.76E-4,1.1900000000000001E-4,1.2E-4,6.2000000000000003E-5,6.0999999999999999E-5,2.0799999999999999E-4,1.1525E-4,1.1525E-4,1.1525E-4]

{"sheet":"residential single detached","index":6,"n_rows":20,"n_cols":15,"rows_kept":20,"cut":false,"hidden":true,"merged":[]}
["variable","year","newfoundland and labrador","prince edward island","nova scotia","new brunswick","quebec","ontario","manitoba","saskatchewan","alberta","british columbia","nunavut","yukon","northwest territories"]
["s_building_quant_#",2013,163303.89299999998,40239.54,266220.435,225391.514,1586045.4890000001,2892710.7420000001,320815.37200000003,303572.98200000002,957775.65899999999,998513.66800000006,1957.0008206581222,6037.8055083304471,7744.6511615180316]
["s_floor_area_m2",2013,26886957,6643316,42887815,34413788,235070899,513183290.00000006,48381605,47023944,145179220,186883091,240391.68216815172,1064771.5225295296,1365775.0315627302]
["s_floor_growth_dec%","1990-2013 annual avg",1.0254535270625871,1.0256801830518092,1.0224839111350303,1.02310850853415,1.0258617777387333,1.0247622232070972,1.0237456847493507,1.0166109361190914,1.0371049998868231,1.0285851467789473,1.0485061771930169,1.033999640512788,1.033999640512788]
["s_eui_gjm2",2013,1.0242499999999999,1.0017499999999999,1.0575000000000001,1.0409999999999999,1.2205000000000001,0.94399999999999995,1.0030000000000001,1.1262499999999998,1.34175,0.7589999999999999,0.7589999999999999,0.7589999999999999,0.7589999999999999]
["s_eui_growth_dec%","1990-2013 annual avg",0.97919521614550886,0.97860725469005461,0.98226062530532487,0.98020698186645749,0.98337097684923769,0.9844323362615367,0.98683063813304928,0.98657830438129668,0.98934811632901842,0.98464364784021852,0.97663648303034489,0.97663648303034489,0.97663648303034489]
["s_euse_elc_dec%",2013,0.61143111999999999,0.107574,0.33212605000000006,0.59726531999999999,0.58554070000000003,0.21419700999999999,0.52890324,0.10297440999999999,0.17983774,0.52890324,0.35777790000000004,0.35777790000000004,0.35777790000000004]
["s_euse_gas_dec%",2013,0,0,4.0033600000000001E-3,2.345361E-2,6.3980809999999999E-2,0.63019488999999995,0.40121493999999996,0.29674250000000002,0.78268089000000007,0.40121493999999996,6.213697E-2,6.213697E-2,6.213697E-2]
["s_euse_oil_dec%",2013,0.16185338999999999,0.6046397,0.40451241000000004,0.16943411,6.4283789999999993E-2,4.2525359999999998E-2,6.5467399999999997E-3,2.3653099999999998E-3,2.1248999999999999E-4,6.5467399999999997E-3,0.39076186999999996,0.39076186999999996,0.39076186999999996]
["s_euse_oth_dec%",2013,1.3240780000000001E-2,2.083728E-2,1.4165589999999999E-2,5.3435100000000001E-3,3.07741E-3,1.640782E-2,5.3137100000000001E-3,6.8316200000000001E-3,9.5333500000000012E-3,5.3137100000000001E-3,8.9504330000000007E-2,8.9504330000000007E-2,8.9504330000000007E-2]
["s_euse_wood_dec%",2013,0.21347470999999998,0.26694901999999998,0.24519257999999999,0.20450344000000001,0.28311729000000002,9.6674880000000005E-2,5.8021330000000003E-2,1.3545730000000001E-2,2.7735500000000003E-2,5.8021330000000003E-2,9.9818940000000009E-2,9.9818940000000009E-2,9.9818940000000009E-2]
["s_rate_elc_$kwh",2016,0.1306831520152292,0.14338478626752574,0.12583616389528798,0.12414861720371924,9.110419806664101E-2,0.15127554684917091,8.8053392725078075E-2,0.13810682158389778,9.2501666789361711E-2,0.11571299991030132,0.12181927814756911,0.12181927814756911,0.12181927814756911]
["s_quant_growth_dec%","1990-2013 annual avg",1.0098170280973553,1.013708486588593,1.010584678241075,1.0114751436936786,1.0181165598495197,1.0179715528002145,1.0098489455632915,1.0045561283810784,1.0298695977540968,1.0169752914359309,1.0204883073765301,1.0222820538175548,1.0222820538175548]
["s_delta_elc_dec%","2003-2013 annual avg",1.0317132069137598,1.0083271444719413,1.0114926999997313,1.0116465935072643,1.0210755734489116,0.97940407485009862,1.022060411433148,1.022617296216864,1.0332460080894028,1.0118359355020414,1.0222674334381352,1.0222674334381352,1.0222674334381352]
["s_delta_gas_dec%","2003-2013 annual avg",0,0,0.87144539483343786,1.0432850291718849,0.99333830022574221,1.0054735509620798,0.98496441464080564,1.0101146345509975,0.99373148924051313,0.99548054192060986,1.0195254105832658,1.0195254105832658,1.0195254105832658]
["s_delta_oil_dec%","2003-2013 annual avg",0.97026905124049956,0.99593695283846917,0.98299438706381048,0.98697948713789241,0.94706870351525663,0.97695816840928773,1.0438477223389202,0.9818888396504688,0.98730073952341824,0.95060172159881817,0.98193823510465794,0.98193823510465794,0.98193823510465794]
["s_delta_oth_dec%","2003-2013 annual avg",1.1260900003756562,0.96546763155009196,0.98287605675003653,0.94730289464668738,1.0280695986549697,1.0755291983101598,0.99057532275824922,0.96591218488084107,0.9981111240324837,0.96035526693005524,1.0080013678707009,1.0080013678707009,1.0080013678707009]
["s_delta_wod_dec%","2003-2013 annual avg",0.97125425414927458,1.0118720693454317,1.0240728939178052,0.98430464738350187,0.99166536240639036,1.0418601450196205,0.96902843104304659,0.95831136461472233,1.0383420206000449,0.98576740859847289,1.0043879264700453,1.0043879264700453,1.0043879264700453]
["s_sales_dec","2007-2016 avg",3.5999999999999997E-2,4.9000000000000002E-2,3.9E-2,3.9E-2,8.3000000000000004E-2,8.3000000000000004E-2,6.6000000000000003E-2,6.6000000000000003E-2,6.6000000000000003E-2,8.3000000000000004E-2,3.9E-2,3.9E-2,3.9E-2]
["s_eui_gjm2_new",2013,0.72799999999999998,0.79700000000000004,0.84299999999999997,0.78500000000000003,0.95099999999999996,0.753,0.93899999999999995,0.89800000000000002,1.131,0.59699999999999998,0.58199999999999996,0.58199999999999996,0.58199999999999996]

{"sheet":"residential MURB","index":7,"n_rows":20,"n_cols":15,"rows_kept":20,"cut":false,"hidden":true,"merged":[]}
["variable","year","newfoundland and labrador","prince edward island","nova scotia","new brunswick","quebec","ontario","manitoba","saskatchewan","alberta","british columbia","nunavut","yukon","northwest territories"]
["a_building_quant_#",2013,29328.062000000002,11009.69,85241.862999999998,54619.131000000001,1510937.6500000001,1531458.6580000001,119365.428,79453.861999999994,287365.141,568559.63899999997,1957.0008206581222,2050.7348457441285,2630.4633335977501]
["a_floor_area_m2",2013,3233416,1073674,8605104,5896098,159607855,144785722,11851955,9073065,32432346.000000004,55576715,240391.68216815172,251905.66812511173,323117.64970673661]
["a_floor_growth_dec%","1990-2013 avg",1.0248801139275239,1.0375973608743905,1.026052735241586,1.0277421265696671,1.0211092190257889,1.0247243563763448,1.0219624230458229,1.0217352491338769,1.0340629477894565,1.0429029154855756,1.0485061771930169,1.0485061771930169,1.0485061771930169]
["a_eui_gjm2",2013,0.71700000000000008,0.82699999999999996,0.83249999999999991,0.80149999999999999,0.83250000000000002,0.75099999999999989,0.71625000000000005,0.76375000000000004,1.0374999999999999,0.63100000000000001,0.63100000000000001,0.63100000000000001,0.63100000000000001]
["a_eui_growth_dec%","1990-2013 avg",0.98234995148546878,0.98156983455175073,0.98422396116667366,0.97958089266562165,0.98653168218385612,0.98687818253035642,0.99032719735478458,0.99070977331846899,0.98913043478260865,0.98696870052368779,0.97626371608282447,0.97626371608282447,0.97626371608282447]
["a_euse_elc_dec%",2013,0.65717780999999997,0.11655016,0.37627322999999996,0.69487785000000002,0.78781548000000001,0.23231357999999999,0.56395141999999998,0.28431887,0.19247250000000002,0.46849518000000001,0.46202393000000003,0.46202393000000003,0.46202393000000003]
["a_euse_gas_dec%",2013,0,0,3.6540800000000001E-3,2.5019049999999998E-2,7.7631100000000008E-2,0.67808707999999995,0.40082779000000002,0.67661216999999996,0.76719620000000011,0.49235633999999995,4.659025E-2,4.659025E-2,4.659025E-2]
["a_euse_oil_dec%",2013,0.14137657000000001,0.50041358999999996,0.38703307999999997,0.10317705000000001,4.4576840000000006E-2,2.9509590000000002E-2,3.8274799999999999E-3,3.4793200000000002E-3,1.7569999999999999E-4,1.53721E-3,0.33954929,0.33954929,0.33954929]
["a_euse_oth_dec%",2013,1.042175E-2,1.472645E-2,1.131862E-2,4.6343000000000001E-3,3.27561E-3,4.5900440000000001E-2,4.5619300000000005E-3,1.333937E-2,8.7920399999999992E-3,3.44239E-3,7.1782100000000001E-2,7.1782100000000001E-2,7.1782100000000001E-2]
["a_euse_wood_dec%",2013,0.19102388000000001,0.36830978000000003,0.221721,0.17229171999999998,8.6700920000000001E-2,1.418928E-2,2.6831360000000002E-2,2.2250249999999999E-2,3.136357E-2,3.416889E-2,8.0054399999999998E-2,8.0054399999999998E-2,8.0054399999999998E-2]
["a_rate_elc_$kwh",2016,0.13667924985691035,0.16469148252710269,0.13333837588954553,0.13240454493457485,8.6853072301060708E-2,0.15842575215326191,9.0814157746848159E-2,0.14427844061766515,9.4208370882159415E-2,0.10473980765473612,0.12671724660685885,0.12671724660685885,0.12671724660685885]
["a_quant_growth_dec%","1990-2013 avg",1.016550589064082,1.0233551171764153,1.0105495280763419,1.0052703514898613,1.0092253438917025,1.0171536043601337,1.0094388183619432,1.0111527695080977,1.0195157938868027,1.0264344868186606,1.0204883073765301,1.0204883073765301,1.0204883073765301]
["a_delta_elc_dec%","2003-2013 annual avg",1.0277717256548877,1.00284171882645,1.0088865060574346,1.0110382417731607,1.0149790300934403,0.97990302822685493,1.0221636438488719,1.0086845127050186,1.0260623085666829,1.0068293405047988,1.0107522309425898,1.0107522309425898,1.0107522309425898]
["a_delta_gas_dec%","2003-2013 annual avg",0,0,0.88343986865188517,1.0870314691274223,0.98765218102137564,1.0104232873454977,0.98194475732101005,1.0014569851712922,0.99382448509553623,0.99709831912914415,1.0106304381430997,1.0106304381430997,1.0106304381430997]
["a_delta_oil_dec%","2003-2013 annual avg",0.96945938865804526,1.0002036156663738,0.98529789440419369,0.95956913620839512,0.93710805995416024,0.95555926039448935,1.006115206645023,0.94527275660877219,0.98308114242481559,0.92944491373646476,0.98507500220862232,0.98507500220862232,0.98507500220862232]
["a_delta_oth_dec%","2003-2013 annual avg",1.1185888911727568,0.96732759318295802,0.98596039415975245,0.95317338749003211,1.0314350029492134,1.0342862592829241,0.99282705659240933,0.95828437476787831,1.0071608001920891,0.96099137854664907,1.0091861534469295,1.0091861534469295,1.0091861534469295]
["a_delta_wod_dec%","2003-2013 annual avg",0.96887308443188391,1.000796114906928,1.0182352398190944,0.9963052877888976,0.98366260378226222,1.0800423292239134,0.96592683941424162,0.95435872692070434,1.0478676433495187,0.97851303836716985,1.0055330974074297,1.0055330974074297,1.0055330974074297]
["h_proportion_of_a_dec%",2011,{"$f":"705/(705+11375+21305)","v":2.1117268234236933E-2},{"$f":"60/(60+7635+90)","v":7.7071290944123313E-3},{"$f":"17880/(17880+56485+11970)","v":0.20710024902994151},{"$f":"3990/(3990+42040+14110)","v":6.6345194546059194E-2},{"$f":"171110/(171110+1103845+263860)","v":0.11119595272986031},{"$f":"(789975)/(789975+498160+160460)","v":0.54533875928054421},{"$f":"37665/(37665+61410+6105)","v":0.35810039931545923},{"$f":"10830/(10830+52655+7085)","v":0.15346464503330026},{"$f":"58205/(58205+197945+33505)","v":0.2009459529440196},{"$f":"143970/(143970+361150+184355)","v":0.20881105188730556},{"$f":"155/(155+845+130)","v":0.13716814159292035},{"$f":"0/(0+1625+480)","v":0},{"$f":"215/(215+2385+210)","v":7.6512455516014238E-2}]
["s_eui_gjm2_new",2013,0.55900000000000005,0.65100000000000002,0.66200000000000003,0.55900000000000005,0.66400000000000003,0.62,0.68500000000000005,0.64400000000000002,0.79200000000000004,0.5,0.43,0.43,0.43]

{"sheet":"commercial building","index":8,"n_rows":20,"n_cols":15,"rows_kept":20,"cut":false,"hidden":true,"merged":[]}
["variable","year","newfoundland and labrador","prince edward island","nova scotia","new brunswick","quebec","ontario","manitoba","saskatchewan","alberta","british columbia","nunavut","yukon","northwest territories"]
["c_building_quant_#",2013,5449.4650392006824,1476.5286800561444,9797.434405112077,7920.4140596204061,100512.9504008167,118920.74862436652,13703.243611702575,11961.114976123881,53478.945437069298,43806.921113655037,1811.5444802786485,1898.311615972415,2434.9511161430592]
["c_building_area_m2",2013,5597003.1008635256,1516504.0130251641,10062688.787147917,8134850.2528095506,51739586.092715248,128916483.92741413,17703872.403560832,15453133.531157272,69091994.065281913,56800966.169164807,2340304.5769521259,2452397.6152428077,3145673.3763930276]
["c_floor_growth_dec%","1990-2013 avg",1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0176600826155566,1.0208746216311162,1.0083713468889415,1.0063908454457082,1.0200070243882775,1.0330539711467439,1.0330539711467439,1.0330539711467439,1.0330539711467439]
["c_eui_gjm2",2013,1.23083409425,1.2324999999999999,1.2324999999999999,1.2324999999999999,1.295134886,1.5377760170000001,1.7567236259999999,1.95959565775,1.6065570467499999,1.4977500692499999,1.4977500692499999,1.4977500692499999,1.4977500692499999]
["c_eui_growth_dec%","1990-2013 annual avg",0.98802429553352156,0.98802429553352156,0.98802429553352156,0.98802429553352156,0.99676997224841846,0.99744899469450077,0.99701192446596332,1.0017350428504843,0.99332303099732766,0.97974633486049867,0.97974633486049867,0.97974633486049867,0.97974633486049867]
["c_euse_elc_dec%",2013,0.573316249,0.573316249,0.573316249,0.573316249,0.51763199020000006,0.33586963689999999,0.38657573739999995,0.39463952880000003,0.32167821510000005,0.4252086283,0.4252086283,0.4252086283,0.4252086283]
["c_euse_gas_dec%",2013,0.14500323840000001,0.14500323840000001,0.14500323840000001,0.14500323840000001,0.40194886080000003,0.61927421569999996,0.57679996860000005,0.55563070279999993,0.6061364306,0.54156569919999997,0.54156569919999997,0.54156569919999997,0.54156569919999997]
["c_euse_oil_dec%",2013,0.21270647298000001,0.21270647298000001,0.21270647298000001,0.21270647298000001,4.7088655440000002E-2,9.5012706900000007E-3,7.5774401300000007E-3,2.96140771E-2,0.32215689153349525,1.296481908E-2,1.296481908E-2,1.296481908E-2,1.296481908E-2]
["c_euse_oth_dec%",2013,6.8974039639999998E-2,6.8974039639999998E-2,6.8974039639999998E-2,6.8974039639999998E-2,3.3330493570000001E-2,3.5354876690000002E-2,2.9046853840000001E-2,2.0115691330000001E-2,6.5020511890000007E-2,2.0260853440000001E-2,2.0260853440000001E-2,2.0260853440000001E-2,2.0260853440000001E-2]
["c_euse_wod_dec%",2013,0,0,0,0,0,0,0,0,0,0,0,0,0]
["c_rate_elc_$kwh",2016,7.804895968650917E-2,7.0743491226537891E-2,7.4442600731630656E-2,7.2685599821587968E-2,9.5296700837126005E-2,0.14578210158782542,8.5493474936064531E-2,0.13127947790546457,9.067022003654239E-2,0.12418293521349615,0.11444644580641762,0.11444644580641762,0.11444644580641762]
["c_quant_growth_dec%","1990-2013 avg",1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0176600826155566,1.0208746216311162,1.0083713468889415,1.0063908454457082,1.0200070243882775,1.0330539711467439,1.0330539711467439,1.0330539711467439,1.0330539711467439]
["c_delta_elc_dec%","2003-2013 annual avg",1.0201561580957452,1.0201561580957452,1.0201561580957452,1.0201561580957452,1.0567180892413723,0.99338273575049429,1.0177909214586907,1.032459302993576,1.0184789031015846,0.99591284216433451,0.99591284216433451,0.99591284216433451,0.99591284216433451]
["c_delta_gas_dec%","2003-2013 annual avg",1.1599999999999999,1.1599999999999999,1.1599999999999999,1.1599999999999999,0.99385341090195078,1.0091672451308416,0.99190017186891299,0.99448964740171419,0.98920447186178406,1.0120267007548163,1.0120267007548163,1.0120267007548163,1.0120267007548163]
["c_delta_oil_dec%","2003-2013 annual avg",0.95036610320742643,0.95036610320742643,0.95036610320742643,0.95036610320742643,0.92258211437676974,0.91918717674983641,0.95968464139643062,0.92929179191859357,1.051858834882152,0.92649545223055041,0.92649545223055041,0.92649545223055041,0.92649545223055041]
["c_delta_oth_dec%","2003-2013 annual avg",0.97991939607840806,0.97991939607840806,0.97991939607840806,0.97991939607840806,1.000993176849468,1.0501899378756814,0.99227487379003065,1.0555297453949823,1.0468259352366864,0.9833298067308488,0.9833298067308488,0.9833298067308488,0.9833298067308488]
["c_delta_wod_dec%","2003-2013 annual avg",0,0,0,0,0,0,0,0,0,0,0,0,0]
[]
["s_eui_gjm2_new",2013,0.91766294400000004,0.91766294400000004,0.91766294400000004,0.91766294400000004,1.1476280720000001,1.2391252269999999,1.6048216420000001,1.610382481,1.5524998699999999,0.88894962700000002,0.88894962700000002,0.88894962700000002,0.88894962700000002]

{"sheet":"municipal buildings","index":9,"n_rows":19,"n_cols":15,"rows_kept":19,"cut":false,"hidden":true,"merged":[]}
["variable","year","newfoundland","prince edward island","nova scotia","new brunswick","quebec","ontario","manitoba","saskatchewan","alberta","british columbia","nunavut","yukon","northwest territories"]
["m_building_quant_#",2013,5449.4650392006824,1476.5286800561444,9797.434405112077,7920.4140596204061,100512.9504008167,118920.74862436652,13703.243611702575,11961.114976123881,53478.945437069298,43806.921113655037,1811.5444802786485,1898.311615972415,2434.9511161430592]
["m_building_area_m2",2013,5597003.1008635256,1516504.0130251641,10062688.787147917,8134850.2528095506,51739586.092715248,128916483.92741413,17703872.403560832,15453133.531157272,69091994.065281913,56800966.169164807,2340304.5769521259,2452397.6152428077,3145673.3763930276]
["m_floor_growth_dec%","1990-2013 avg",1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0176600826155566,1.0208746216311162,1.0083713468889415,1.0063908454457082,1.0200070243882775,1.0330539711467439,1.0330539711467439,1.0330539711467439,1.0330539711467439]
["m_eui_gjm2",2013,0.91766294400000004,0.91766294400000004,0.91766294400000004,0.91766294400000004,1.1476280720000001,1.2391252269999999,1.6048216420000001,1.610382481,1.5524998699999999,0.88894962700000002,0.88894962700000002,0.88894962700000002,0.88894962700000002]
["m_eui_growth_dec%","1990-2013 annual avg",0.98802429553352156,0.98802429553352156,0.98802429553352156,0.98802429553352156,0.99676997224841846,0.99744899469450077,0.99701192446596332,1.0017350428504843,0.99332303099732766,0.97974633486049867,0.97974633486049867,0.97974633486049867,0.97974633486049867]
["m_euse_elm_dec%",2013,0.573316249,0.573316249,0.573316249,0.573316249,0.51789515788999996,0.33586963689999999,0.38657573739999995,0.39463952880000003,0.32167821510000005,0.4252086283,0.4252086283,0.4252086283,0.4252086283]
["m_euse_gas_dec%",2013,0.14500323840000001,0.14500323840000001,0.14500323840000001,0.14500323840000001,0.40194886080000003,0.61927421569999996,0.57679996860000005,0.55563070279999993,0.6061364306,0.54156569919999997,0.54156569919999997,0.54156569919999997,0.54156569919999997]
["m_euse_oil_dec%",2013,0.21270647298000001,0.21270647298000001,0.21270647298000001,0.21270647298000001,4.7088655440000002E-2,9.5012706900000007E-3,7.5774401300000007E-3,2.96140771E-2,0.32215689153349525,1.296481908E-2,1.296481908E-2,1.296481908E-2,1.296481908E-2]
["m_euse_oth_dec%",2013,6.8974039639999998E-2,6.8974039639999998E-2,6.8974039639999998E-2,6.8974039639999998E-2,3.3067325879999998E-2,3.5354876690000002E-2,2.9046853840000001E-2,2.0115691330000001E-2,6.5020511890000007E-2,2.0260853440000001E-2,2.0260853440000001E-2,2.0260853440000001E-2,2.0260853440000001E-2]
["m_euse_wod_dec%",2013,0,0,0,0,0,0,0,0,0,0,0,0,0]
["m_rate_elm_$kwh",2016,7.804895968650917E-2,7.0743491226537891E-2,7.4442600731630656E-2,7.2685599821587968E-2,9.5296700837126005E-2,0.14578210158782542,8.5493474936064531E-2,0.13127947790546457,9.067022003654239E-2,0.12418293521349615,0.11444644580641762,0.11444644580641762,0.11444644580641762]
["m_quant_growth_dec%","1990-2013 avg",1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0143330468890275,1.0176600826155566,1.0208746216311162,1.0083713468889415,1.0063908454457082,1.0200070243882775,1.0330539711467439,1.0330539711467439,1.0330539711467439,1.0330539711467439]
["m_delta_elm_dec%","2003-2013 annual avg",1.0201561580957452,1.0201561580957452,1.0201561580957452,1.0201561580957452,1.0567180892413723,0.99338273575049429,1.0177909214586907,1.032459302993576,1.0184789031015846,0.99591284216433451,0.99591284216433451,0.99591284216433451,0.99591284216433451]
["m_delta_gas_dec%","2003-2013 annual avg",1.1599999999999999,1.1599999999999999,1.1599999999999999,1.1599999999999999,0.99385341090195078,1.0091672451308416,0.99190017186891299,0.99448964740171419,0.98920447186178406,1.0120267007548163,1.0120267007548163,1.0120267007548163,1.0120267007548163]
["m_delta_oil_dec%","2003-2013 annual avg",0.95036610320742643,0.95036610320742643,0.95036610320742643,0.95036610320742643,0.92258211437676974,0.91918717674983641,0.95968464139643062,0.92929179191859357,1.051858834882152,0.92649545223055041,0.92649545223055041,0.92649545223055041,0.92649545223055041]
["m_delta_oth_dec%","2003-2013 annual avg",0.97991939607840806,0.97991939607840806,0.97991939607840806,0.97991939607840806,1.000993176849468,1.0501899378756814,0.99227487379003065,1.0555297453949823,1.0468259352366864,0.9833298067308488,0.9833298067308488,0.9833298067308488,0.9833298067308488]
["m_delta_wod_dec%","2003-2013 annual avg",0,0,0,0,0,0,0,0,0,0,0,0,0]
["s_eui_gjm2_new",2013,0.91766294400000004,0.91766294400000004,0.91766294400000004,0.91766294400000004,1.1476280720000001,1.2391252269999999,1.6048216420000001,1.610382481,1.5524998699999999,0.88894962700000002,0.88894962700000002,0.88894962700000002,0.88894962700000002]

{"sheet":"F","index":10,"n_rows":10,"n_cols":5,"rows_kept":10,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential single detachedlow",1,4.0000000000000002E-4,0.25,20000]
["residential single detachedmedium",1,1.6000000000000001E-3,0.25,20000]
["residential single detachedhigh",1,2.8000000000000004E-3,0.25,20000]
["residential MURBlow",1,2.0000000000000001E-4,0.28000000000000003,4300]
["residential MURBmedium",1,3.6000000000000002E-4,0.28000000000000003,4300]
["residential MURBhigh",1,5.1999999999999995E-4,0.28000000000000003,4300]
["commercial buildinglow",1,2.0000000000000002E-5,0.35499999999999998,1035870]
["commercial buildingmedium",1,4.0000000000000003E-5,0.35499999999999998,1035870]
["commercial buildinghigh",1,5.9999999999999995E-5,0.35499999999999998,1035870]

{"sheet":"I","index":11,"n_rows":10,"n_cols":5,"rows_kept":10,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential single detachedlow",1,0.15,0.25,4434]
["residential single detachedmedium",1,0.15,0.4,4434]
["residential single detachedhigh",1,0.15,0.55000000000000004,4434]
["residential MURBlow",1,0.15,0.25,2405]
["residential MURBmedium",1,0.15,0.4,2405]
["residential MURBhigh",1,0.15,0.55000000000000004,2405]
["commercial buildinglow",1,0.15,0.25,32.17]
["commercial buildingmedium",1,0.15,0.4,32.17]
["commercial buildinghigh",1,0.15,0.55000000000000004,32.17]

{"sheet":"HERaD","index":12,"n_rows":4,"n_cols":5,"rows_kept":4,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential single detachedlow",1,3.7499999999999999E-2,0.2,0]
["residential single detachedmedium",1,7.4999999999999997E-2,0.2,0]
["residential single detachedhigh",1,0.1125,0.2,0]

{"sheet":"MPSfNB","index":13,"n_rows":10,"n_cols":5,"rows_kept":10,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential single detachedlow",1,0.85,0.15,0]
["residential single detachedmedium",1,0.85,0.17,0]
["residential single detachedhigh",1,0.85,0.2,0]
["residential MURBlow",1,0.85,0.15,0]
["residential MURBmedium",1,0.85,0.17,0]
["residential MURBhigh",1,0.85,0.2,0]
["commercial buildinglow",1,0.85,0.15,0]
["commercial buildingmedium",1,0.85,0.17,0]
["commercial buildinghigh",1,0.85,0.2,0]

{"sheet":"MPSfEB","index":14,"n_rows":46,"n_cols":5,"rows_kept":46,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential single detachedlow",1,0.03,0.1,0]
[null,2,3.2000000000000001E-2,0.1,0]
[null,3,3.4000000000000002E-2,0.1,0]
[null,4,3.5999999999999997E-2,0.1,0]
[null,5,3.7500000000000006E-2,0.1,0]
["residential single detachedmedium",1,0.03,0.2,0]
[null,2,3.2000000000000001E-2,0.2,0]
[null,3,3.4000000000000002E-2,0.2,0]
[null,4,3.5999999999999997E-2,0.2,0]
[null,5,3.7500000000000006E-2,0.2,0]
["residential single detachedhigh",1,0.03,0.3,0]
[null,2,3.2000000000000001E-2,0.3,0]
[null,3,3.4000000000000002E-2,0.3,0]
[null,4,3.5999999999999997E-2,0.3,0]
[null,5,3.7500000000000006E-2,0.3,0]
["residential MURBlow",1,0.03,0.1,0]
[null,2,3.2000000000000001E-2,0.1,0]
[null,3,3.4000000000000002E-2,0.1,0]
[null,4,3.5999999999999997E-2,0.1,0]
[null,5,3.7500000000000006E-2,0.1,0]
["residential MURBmedium",1,0.03,0.2,0]
[null,2,3.2000000000000001E-2,0.2,0]
[null,3,3.4000000000000002E-2,0.2,0]
[null,4,3.5999999999999997E-2,0.2,0]
[null,5,3.7500000000000006E-2,0.2,0]
["residential MURBhigh",1,0.03,0.3,0]
[null,2,3.2000000000000001E-2,0.3,0]
[null,3,3.4000000000000002E-2,0.3,0]
[null,4,3.5999999999999997E-2,0.3,0]
[null,5,3.7500000000000006E-2,0.3,0]
["commercial buildinglow",1,0.03,0.1,0]
[null,2,3.2000000000000001E-2,0.1,0]
[null,3,3.4000000000000002E-2,0.1,0]
[null,4,3.5999999999999997E-2,0.1,0]
[null,5,3.7500000000000006E-2,0.1,0]
["commercial buildingmedium",1,0.03,0.2,0]
[null,2,3.2000000000000001E-2,0.2,0]
[null,3,3.4000000000000002E-2,0.2,0]
[null,4,3.5999999999999997E-2,0.2,0]
[null,5,3.7500000000000006E-2,0.2,0]
["commercial buildinghigh",1,0.03,0.3,0]
[null,2,3.2000000000000001E-2,0.3,0]
[null,3,3.4000000000000002E-2,0.3,0]
[null,4,3.5999999999999997E-2,0.3,0]
[null,5,3.7500000000000006E-2,0.3,0]

{"sheet":"RaB","index":15,"n_rows":31,"n_cols":5,"rows_kept":31,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential MURBlow",1,0.63749999999999996,0.02,0]
[null,2,0.6885,0.02,0]
[null,3,0.73949999999999994,0.02,0]
[null,4,0.79049999999999998,0.02,0]
[null,5,0.84150000000000003,0.02,0]
["residential MURBmedium",1,0.71249999999999991,0.02,0]
[null,2,0.76949999999999996,0.02,0]
[null,3,0.82650000000000001,0.02,0]
[null,4,0.88349999999999995,0.02,0]
[null,5,0.9405,0.02,0]
["residential MURBhigh",1,0.74249999999999994,0.02,0]
[null,2,0.80190000000000006,0.02,0]
[null,3,0.86129999999999995,0.02,0]
[null,4,0.92070000000000007,0.02,0]
[null,5,0.98009999999999997,0.02,0]
["commercial buildinglow",1,0.26249999999999996,0.02,0]
[null,2,0.28349999999999997,0.02,0]
[null,3,0.30449999999999999,0.02,0]
[null,4,0.32550000000000001,0.02,0]
[null,5,0.34649999999999997,0.02,0]
["commercial buildingmedium",1,0.33750000000000002,0.02,0]
[null,2,0.36450000000000005,0.02,0]
[null,3,0.39150000000000001,0.02,0]
[null,4,0.41850000000000004,0.02,0]
[null,5,0.44550000000000001,0.02,0]
["commercial buildinghigh",1,0.39750000000000002,0.02,0]
[null,2,0.42930000000000007,0.02,0]
[null,3,0.46110000000000001,0.02,0]
[null,4,0.49290000000000006,0.02,0]
[null,5,0.52470000000000006,0.02,0]

{"sheet":"AaR","index":16,"n_rows":91,"n_cols":5,"rows_kept":91,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding"]
["residential MURBlow",1,5.4400000000000004E-2,3.2000000000000001E-2,0]
[null,2,5.6610000000000008E-2,3.2000000000000001E-2,0]
[null,3,5.8820000000000011E-2,3.2000000000000001E-2,0]
[null,4,6.1030000000000015E-2,3.2000000000000001E-2,0]
[null,5,6.3240000000000018E-2,3.2000000000000001E-2,0]
[null,6,6.5450000000000022E-2,3.2000000000000001E-2,0]
[null,7,6.7660000000000012E-2,3.2000000000000001E-2,0]
[null,8,6.9870000000000015E-2,3.2000000000000001E-2,0]
[null,9,7.2080000000000019E-2,3.2000000000000001E-2,0]
[null,10,7.6500000000000012E-2,3.2000000000000001E-2,0]
[null,11,7.8030000000000002E-2,3.2000000000000001E-2,0]
[null,12,7.9560000000000006E-2,3.2000000000000001E-2,0]
[null,13,8.1090000000000009E-2,3.2000000000000001E-2,0]
[null,14,8.2620000000000013E-2,3.2000000000000001E-2,0]
[null,15,8.4150000000000003E-2,3.2000000000000001E-2,0]
["residential MURBmedium",1,6.08E-2,3.2000000000000001E-2,0]
[null,2,6.3270000000000007E-2,3.2000000000000001E-2,0]
[null,3,6.5740000000000007E-2,3.2000000000000001E-2,0]
[null,4,6.8210000000000007E-2,3.2000000000000001E-2,0]
[null,5,7.0680000000000007E-2,3.2000000000000001E-2,0]
[null,6,7.3150000000000007E-2,3.2000000000000001E-2,0]
[null,7,7.5620000000000021E-2,3.2000000000000001E-2,0]
[null,8,7.8090000000000021E-2,3.2000000000000001E-2,0]
[null,9,8.056000000000002E-2,3.2000000000000001E-2,0]
[null,10,8.5500000000000007E-2,3.2000000000000001E-2,0]
[null,11,8.721000000000001E-2,3.2000000000000001E-2,0]
[null,12,8.8920000000000013E-2,3.2000000000000001E-2,0]
[null,13,9.0630000000000002E-2,3.2000000000000001E-2,0]
[null,14,9.2340000000000005E-2,3.2000000000000001E-2,0]
[null,15,9.4049999999999995E-2,3.2000000000000001E-2,0]
["residential MURBhigh",1,6.336E-2,3.2000000000000001E-2,0]
[null,2,6.5934000000000006E-2,3.2000000000000001E-2,0]
[null,3,6.8508000000000013E-2,3.2000000000000001E-2,0]
[null,4,7.1082000000000006E-2,3.2000000000000001E-2,0]
[null,5,7.3656000000000013E-2,3.2000000000000001E-2,0]
[null,6,7.623000000000002E-2,3.2000000000000001E-2,0]
[null,7,7.8804000000000013E-2,3.2000000000000001E-2,0]
[null,8,8.137800000000002E-2,3.2000000000000001E-2,0]
[null,9,8.3952000000000027E-2,3.2000000000000001E-2,0]
[null,10,8.9100000000000013E-2,3.2000000000000001E-2,0]
[null,11,9.0882000000000004E-2,3.2000000000000001E-2,0]
[null,12,9.266400000000001E-2,3.2000000000000001E-2,0]
[null,13,9.4446000000000016E-2,3.2000000000000001E-2,0]
[null,14,9.6228000000000008E-2,3.2000000000000001E-2,0]
[null,15,9.801E-2,3.2000000000000001E-2,0]
["commercial buildinglow",1,2.24E-2,3.2000000000000001E-2,0]
[null,2,2.3309999999999997E-2,3.2000000000000001E-2,0]
[null,3,2.4219999999999998E-2,3.2000000000000001E-2,0]
[null,4,2.513E-2,3.2000000000000001E-2,0]
[null,5,2.6040000000000001E-2,3.2000000000000001E-2,0]
[null,6,2.6950000000000002E-2,3.2000000000000001E-2,0]
[null,7,2.7860000000000003E-2,3.2000000000000001E-2,0]
[null,8,2.8770000000000004E-2,3.2000000000000001E-2,0]
[null,9,2.9680000000000005E-2,3.2000000000000001E-2,0]
[null,10,3.15E-2,3.2000000000000001E-2,0]
[null,11,3.2129999999999999E-2,3.2000000000000001E-2,0]
[null,12,3.2759999999999997E-2,3.2000000000000001E-2,0]
[null,13,3.3389999999999996E-2,3.2000000000000001E-2,0]
[null,14,3.4020000000000002E-2,3.2000000000000001E-2,0]
[null,15,3.4649999999999993E-2,3.2000000000000001E-2,0]
["commercial buildingmedium",1,2.8800000000000003E-2,3.2000000000000001E-2,0]
[null,2,2.9970000000000004E-2,3.2000000000000001E-2,0]
[null,3,3.1140000000000008E-2,3.2000000000000001E-2,0]
[null,4,3.2310000000000005E-2,3.2000000000000001E-2,0]
[null,5,3.348000000000001E-2,3.2000000000000001E-2,0]
[null,6,3.4650000000000007E-2,3.2000000000000001E-2,0]
[null,7,3.5820000000000012E-2,3.2000000000000001E-2,0]
[null,8,3.6990000000000009E-2,3.2000000000000001E-2,0]
[null,9,3.8160000000000013E-2,3.2000000000000001E-2,0]
[null,10,4.0500000000000008E-2,3.2000000000000001E-2,0]
[null,11,4.1310000000000006E-2,3.2000000000000001E-2,0]
[null,12,4.2120000000000005E-2,3.2000000000000001E-2,0]
[null,13,4.293000000000001E-2,3.2000000000000001E-2,0]
[null,14,4.3740000000000008E-2,3.2000000000000001E-2,0]
[null,15,4.4550000000000006E-2,3.2000000000000001E-2,0]
["commercial buildinghigh",1,3.3920000000000006E-2,3.2000000000000001E-2,0]
[null,2,3.5298000000000003E-2,3.2000000000000001E-2,0]
[null,3,3.6676000000000007E-2,3.2000000000000001E-2,0]
[null,4,3.8054000000000011E-2,3.2000000000000001E-2,0]
[null,5,3.9432000000000009E-2,3.2000000000000001E-2,0]
[null,6,4.0810000000000013E-2,3.2000000000000001E-2,0]
[null,7,4.218800000000001E-2,3.2000000000000001E-2,0]
[null,8,4.3566000000000014E-2,3.2000000000000001E-2,0]
[null,9,4.4944000000000012E-2,3.2000000000000001E-2,0]
[null,10,4.7700000000000006E-2,3.2000000000000001E-2,0]
[null,11,4.865400000000001E-2,3.2000000000000001E-2,0]
[null,12,4.9608000000000006E-2,3.2000000000000001E-2,0]
[null,13,5.056200000000001E-2,3.2000000000000001E-2,0]
[null,14,5.1516000000000013E-2,3.2000000000000001E-2,0]
[null,15,5.2470000000000003E-2,3.2000000000000001E-2,0]

{"sheet":"LbE","index":17,"n_rows":2,"n_cols":6,"rows_kept":2,"cut":false,"hidden":true,"merged":[]}
["building_type","year","uptake_rate","reduction_factor","participant_funding","goal_year"]
["municipal buildingsNA",1,1,0.2,0,2048]

{"sheet":"energy","index":18,"n_rows":36,"n_cols":3,"rows_kept":36,"cut":false,"hidden":true,"merged":[]}
["Year","BAU","Cumulative"]
[2017]
[2018]
[2019]
[2020]
[2021]
[2022]
[2023]
[2024]
[2025]
[2026]
[2027]
[2028]
[2029]
[2030]
[2031]
[2032]
[2033]
[2034]
[2035]
[2036]
[2037]
[2038]
[2039]
[2040]
[2041]
[2042]
[2043]
[2044]
[2045]
[2046]
[2047]
[2048]
[2049]
[2050]
["2050_RED"]

{"sheet":"financial","index":19,"n_rows":36,"n_cols":3,"rows_kept":36,"cut":false,"hidden":true,"merged":[]}
["Year","BAU","Cumulative"]
[2017]
[2018]
[2019]
[2020]
[2021]
[2022]
[2023]
[2024]
[2025]
[2026]
[2027]
[2028]
[2029]
[2030]
[2031]
[2032]
[2033]
[2034]
[2035]
[2036]
[2037]
[2038]
[2039]
[2040]
[2041]
[2042]
[2043]
[2044]
[2045]
[2046]
[2047]
[2048]
[2049]
[2050]
["2050_RED"]

{"sheet":"emissions","index":20,"n_rows":36,"n_cols":3,"rows_kept":36,"cut":false,"hidden":true,"merged":[]}
["Year","BAU","Cumulative"]
[2017]
[2018]
[2019]
[2020]
[2021]
[2022]
[2023]
[2024]
[2025]
[2026]
[2027]
[2028]
[2029]
[2030]
[2031]
[2032]
[2033]
[2034]
[2035]
[2036]
[2037]
[2038]
[2039]
[2040]
[2041]
[2042]
[2043]
[2044]
[2045]
[2046]
[2047]
[2048]
[2049]
[2050]
["2050_RED"]