## ECM Survey
Municipal Scan - Energy Conservation & Demand Management Plans | [5 empty] | Interested in results
Municipality | CDM Plan | Approach | Baseline Year | Targets/Methodology | Consultant for update?
Brampton | Energy Conservation and Demand Management Plan | Currently more EUI based, but for the update leaning towards combining the two approaches. EUI based target for first plan was great for communication and marketing, but it is critical to have a specific council endorsed workplan to mandate the work | 2010 | • 5% by 2014 • 15% by 2016 • 30% by 2021 | No - most likely in-house | Yes
Burlington | Corporate Energy Management Plan | Project/savings approach; phase 1 - building level retrofits, phase 2 - system and equipment level, phase 3 - installation of temp. measurement devices to collect data on energy use patterns | 2012 | First plan: • 15% overall reduction of energy consumption for facilities (ekWh/ft2) • 10% reduction of water consumption for facilities (m3/ft2) • 20% reduction of energy cost for facilities (adjusted for utility escalation rate)($/ft2) • 10% reduction of corporate fleet fuel consumption (Litres /100 km) • 10% reduction of fire fleet fuel consumption (Litres /100 km) • 5% reduction for transit fuel consumption (Litres /100 km) • 20% reduction of electricity consumption for street lighting (kWh)
Caledon | Corporate Energy Management Plan | Policy approach, looking at policy areas such as base building minimum standards (i.e. recommended temperature settings to achieve energy savings, etc.). In regards to retrofits, will be attaching energy audits as an appendix to the plan. Aiming to incorporate other sources of corporate GHG emissions such as vehicle fleet, waste and water. The Policy will be more of a Corporate GHG Reduction Policy | 2012 for first plan, thinking 2015 for update | Considering the following options for update: • Setting a % reduction for each year (e.g. 1% per year) • Calculating savings based on the policy and energy audit measures • Energy use intensity based reduction target • Theoretical target (not based on measures but agreed upon with relevant staff) | Yes - consultant will help revise target and be responsible for facilitating visioning workshops and research | Yes
Guelph | Corporate Energy Management Plan | The intention of the CDM plan update will be to make incremental changes towards achieving the 2050 target while regularly measuring energy performance against the target. | 2013 (for tracking purposes, but not directly tied to target since it's not relateable to a baseline) | • Corporation is to be 100% Renewable by 2050 (set by Council in June 2018) | No - in-house | Yes
Markham | Corporate Energy Management Plan | Project/savings approach; CEMP meant to exist as a framework to address increasing concerns related to managing energy consumption, demand, cost, and greenhouse gas emissions | 2012 for first plan | • Corporate facility total energy intensity: 10% Reduction • Corporate facility peak electricity demand intensity: 10% Reduction • Streetlighting energy intensity: 20% Reduction • Municipal operations greenhouse gas emissions intensity: 5% Reduction
Mississauga | 5 Year Energy Conservation Plan | EUI based |  | • 1% reduction in energy use and greenhouse gas emissions per year for facilities, over 5 years (2014-2019) i.e. total 5% reduction in energy use per square meter for corporate buildings by 2020. • To be achieved by reducing City's EUI by 1% annually for both electricity and natural gas
Richmond Hill | Energy Conservation and Demand Management Plan | EUI based | 2012 for first plan, thinking 2016 for update | • 5% reduction in EUI over the next 5 years • This will be reflected in updated CDM plan | No - in-house | Yes
Toronto | Energy Conservation and Demand Management Plan | EUI based | 2012 for first plan | • Based on building energy consumption from top-quartile energy performers under individual building types • Corresponding result used to set energy performance targets for the remaining 75% of the buildings within the group. • Breaks down potential savings into yearround and seasonal (winter or summer) electricity and gas use, which help narrow down measures most likely to be appropriate for each scenario
Vaughan | Energy Conservation and Demand Management Plan | Current plan - project/savings approach - sets target and identifies how reduction will be achieved (on the basis of energy audits to identify specific retrofit projects and savings; will try to combine two approaches for update or perhaps switch to EUI approach | 2011 for first plan (to be revised) | For first plan: • 10% overall reduction of energy consumption for facilities on per person served basis (ekWh/ft2) • 10% reduction of water consumption for facilities on per person served basis (m3/ft2) • 10% reduction of energy cost for facilities (adjusted for utility escalation rate) ($/ft2) • 20% reduction of electricity consumption for street lighting (kWh) | Most likely in-house, consultant may re-do energy audits
York Region | Corporate Energy Conservation and Demand Management Plan | Sets a target and prescribes how it will be achieved; plan encompasses entire corporate srvice delivery (buildings, water and wastewater processing, transit, police, EMS, street and trafficlights etc.) | 2014 (have data going back to 2006 but 2014 data is a more accurate representation) | Targets are both per capita and absolute: • Have interim targets - 6% below 2014 by 2021, 17% by 2031, 44% by 2041, 72% by 2051 (per capita). • Also have overall targets - 12% by 2041 and 47% by 2051 (absolute) which align with Vision 2051. • Absolute is the most important for the Plan but we have per capita to normalize the impact that a growing municipality such as ours will have on emissions | Yes - for plan writing | Yes
CDM Approaches
| A | B
| Project/Savings focused | Energy Use Intensity based
Description | Sets a target, prescribes how it will be achieved | Sets a target, but doesn’t prescribe how it will be achieved (e.g. City of Toronto plan)
Target setting methodology | Based on energy audits identifying savings opportunities; combined retrofits used to reach target | Based on buildings energy consumption from top-quartile energy performers under each building type; this used to set energy performance targets for the remaining 75% of the buildings within the group

## COP Survey
2019 Municipal Energy Conservation and Demand Management Plans
What targets are you exploring for the 2019 Plan?
Respondents | Responses
1 | We have yet to establish a new benchmark for 2019.
2 | Will work on efficiency improvement, i.e., having ekWh/sqft targets. We will also work on Green Fleet strategy, increase the number of energy audits/studies, explore into ISO 50001, increase the capacity of renewable energy and work on developing policies and standards for adopting sustainable technologies.
3 | Considering using 2014 as a baseline; still working on how to best outline a target. Will likely be EUI based and compared against a suitable benchmark or “best in class” target.
4 | still need to achieve 2014 targets; will also incorporate water and gas; just beginning to prepare Terms of Reference.
5 | Targets will be aligned to the existing corporate targets, 80% reduction of CO2 emissions by 2050 against the 1990 baseline. Our targets are focused on a broader Climate Change target (CO2 emissions), and to track progress the Region has a detailed GHG inventory which captures GHG emissions from electricity and Natural Gas emissions. The Region is also developing a Climate Change Master Plan which will provide the long term strategic planning and roadmap for climate change actions
6 | Energy savings kWh, # of procurement processes reviewed and changed, # of energy training, # of communications, # of renewables implemented.
7 | The targets are directly related to the investment and they need to be approved by the sponsor. We are thinking at maintaining the 1% reduction per year and try for more if more funds become available.
8 | we would like to set our GHG targets as part of the PCP stages. we have recently become members.
9 | Our targets speak to 2030 and 2050, related to energy intensity, CAFE, GHG reduction and process water efficiency.
10 | July 2018, council has defined the Corporate target to be 100% renewable by 2050. As such, this will be the target for the 2019 plan
11 | Continued refinement of energy benchmarks and related KPIs such as energy intensity by either facility or operational area with consideration for aligning with O.Reg 588/17 under the Infrastructure for Jobs and Prosperity Act, 2015 (i.e. Section 5(2)2) Note work plan for 2019 CDM renewal still in development
12 | The overall goal is to reduce GHG emissions by 80% by 2050. The development of the plan will involve the identification of an interim 5 year target that the 5 year action plan will be built around.
13 | We are still in the planning phase and have not set targets for the 2019 Plan.
14 | Energy Use and GHG per square foot of facility space. Energy Use and GHG per FTE staff. Energy Cost Intensity ($/ft2) Total renewable energy generation as % of demand. Fleet Fuel Efficiency & GHG per vehicle and FTE staff.
15 | General reduction targets for % of Elec, natural gas and water as well as GHG. Possibly a target for kW of installed renewables?
16 | It is early in the process to say, however the approach we will be taking to determine 2019 targets is through: a best practice scan of municipal CDMs locally, nationally and internationally, energy standards, and engagement with the corporate energy team to determine a feasible target.
17 | TBD - likely energy/sq ft, energy/capita, and GHG/capita. Will investigate aligning with our MEP.
18 | We are considering to establish an energy reduction target in terms of overall energy use intensity (EUI) in the 2019 plan.
19 | We are currently reviewing the feasibility of matching the Provinces GHG reduction targets alongside those that have been preliminarily identified in the Community Energy Plan. We also plan to redo energy audits on all of the major municipal facilities to identify what work can be completed, in order to help develop actions in our long term capital forecast and the CDM plan. This will allow us to identify what targets are feasible. We are also looking at updating the green fleet strategy by the end of 2018 which will be incorporated into the plan.
20 | Will need to revisit.
21 | Uncertain yet - perhaps 2% per year reductions or avoided energy usage / costs. Perhaps develop a community wide GHG inventory / plan - ($$$?) (May be needed for grant opportunities).
22 | Unsure, likely an intensity based energy target with an ambiguous GHG focus.